- Fulfill the following Boolean function!

- After the termination of high level at Q3 output the contact of M3 auxiliary relay remains closed 5.6sec!

- Fulfill the following Boolean function! Each rising edge of F1 replace the state of M5 auxiliary relay!

- Fulfill the following Boolean function!

- Implement the following six seconds time-period, 1:3 duty cycle blinking! Put the result MK auxiliary relay! (2 point)

- I1 is the sensed passing crates. Z1 reset the counter. The Q4 lamp indicates if number of passing crates higher as 7! (2 point)

# Text boxes

=1

Ic

S

R

&

(1

I2

M4

Q3

(1

Ib

M5

Q1

Q3

M3

Q2

Z2